
[image: image4.jpg]


[image: image5.jpg]



Installation 



	


4

Important instruction :
1. Please adhere to the following installation instructions. We shall not be responsible for failures and loss that are contributed to improper installation.

2. Please confirm the fixation location of cistern prior to installation and obtain the finished floor surface.
Draw FEL on installation wall and follow it as baseline from ZERO (0) level.

3. The Instructions have been composed based In the latest product specifications. We reserve the right to

make modifications to the packaging and specifications without providing prior notification.
[image: image1.png]Drill a hole
of B10x75 ™ gerew

b @

A dimension according to practical location of flushing pipe
#<Note: Above drilling are theoretical dimensions of frame
mounting.

Please follow by the practical location of frame.

insert expansion

@ AL
inward)

(outward) %

nd

jrwardy @
ouried e
1 on 98 10 L ance wit
o hote A

fix the wall
bracket into wall

Drill a hole of @10x75 === Insert expansion screw




[image: image2.png]/ﬁngg outlet and connecting|

pipe into discharging outlet.

%
=

Draw the

Apply lubricant on rubber washers of
straight tube and connecting pipe,
then Insert Into ceramic holes.

Draw the lines as
above picture.

above picture.
® .o 4
I [[

As per drawing, L1 is distance
between the two lines on straight
tube.L2 is distance between the two
lines on connecting pipe.Cut the
straight tube and connecting pipe
as per above drawing.

Polishing the cutting surface to get
chamfer angle as per drawing and
deburring.





[image: image3.png]Cut the protection sleeve outside
of the wall with a knife.

Apply lubricat on joint surface of
straight tube and connecting pipe.

Mounting the ceramic bowl.

Adjust length of connecting bolt to
be d+20mm

Screw the bowl and

remove the extra pad.

Firstly insert

connecting pipe  \)

into discharging outlet

and straight tube into ceramic hole.
T—Portion 1

Apply cement or glue to fill and level
up the gap to wall.





Cleaning 

Cleaning recommendations:

The high quality vitreous china finish can be maintained by simply using mild soapy water and wiping over. Sanitary ware should not be cleaned with abrasive materials e.g. steel wool/scourers. Do not use any corrosive or abrasive cleaning agents containing acids or scouring agents as this may lead to surface damage. Bleaches can also discolor seats and hinges and therefore should not be used. Do not use any toilet cleaners in the cistern, as the chemical compound may affect the internal mechanisms. After cleaning, rinse with clean water and polish with a clean soft cloth.

Notice to Installer

Please ensure that these installation instructions are left with the end user for future reference. It is recommended that the toilet seat and cover be installed after all trade-work is finished. 

Note: All measurements for rough-in should be taken from finished wall/floor. Please check all measurements against the actual toilet before commencing as variances do occur.

· 
 
	




6

Connect the flexible water inlet hose to the stop tap in the wall. Fill the cistern and ensure correct water level. (A line inside of cistern indicates the correct water level.) The water level can be adjusted by using the screw fitting at the top of the float on the inlet valve.

4



